## Sheet1
Energy Performance Calculator | [16 empty] | 2023-06-27
Input Data Sheet
Building Name | ABC Building
Building Owner | ABC Real Estate Limited
Address | 88 ABC Road, ABC, Kowloon, Hong Kong
Type of Building (hotel/ office/ retail) | hotel + office + retail
By % Reduction Method (baseline year)
Assessment Method (By EUI or By % Reduction) | % Reduction |  |  |  | Year | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015
Assessment By (Landlord Only or Whole Builidng) | Whole Building |  |  |  | Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  |  | Building Total | kWh | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | Central Building Services Installation (CBSI) electricity bills of building excluded SWPH
|  |  |  | Tenant Total | kWh | 123457 | 123457 | 123457 | 123457 | 123457 | 123457 | 123457 | 123457 | 123457 | 123457 | 123457 | 123457 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
24-hours Central A/C Chiller Plants (Combined or Seperated) | Seperated |  |  |  | By % Reduction Method or By EUI Method (assessement year)
Sea Water Pump for Heat Rejection (Yes or No) | Yes |  |  |  | Year | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021
[5 empty] | Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  |  | Building Total | kWh | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | 1234567.89 | Central Building Services Installation (CBSI) electricity bills of building excluded SWPH
sq.m. or sq.ft.
Building Total Area - Internal Floor Area | 1234567.89
Building Operating Period
Office |  | hours/day | days/week
Office with 24-hrs Chilled Water for Server Room | 123456.78 | 13 | 5.5
Hotel | 123456.78
General A/C Office | 123456.78 | 13 | 5.5
Overtime A/C Office | 123456.78
24-hrs A/C Office | 123456.78
Retails
General A/C Retail Shops | 987654.32 | 14 |  |  | Year | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021
24-hrs A/C Retail Shops | 987654.32 |  |  |  | Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Retail Shops - Chinese/Western Restaurant(s)/Food Court | 987654.32 | 16 |  |  | kWh | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | central exhaust & central make-up fans (consumption proportion to monthly calendar days)
Retail Shops - Supermarket(s) | 987654.32 | 16 |  |  | kWh | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | 123456 | central freezers (consumption proportion to monthly calendar days)
Commonly Used A/C Area | 12345.67
Others Non-A/C Area | 12345.67 |  |  |  | Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Underground Carpark | 12345.67 |  |  |  | kWh | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | lighting + mechanical ventilation (consumption proportion to monthly calendar days)
Aboveground Carpark | 12345.67 |  |  |  | kWh | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | lighting + mechanical ventilation (consumption proportion to monthly calendar days)
Non-A/C GIC (e.g. public transportation station) | 12345.67 |  |  |  | kWh | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | 987654.32 | central lighting + central mechanical ventilation (consumption proportion to monthly calendar days)
Footbridge(s) | 12345.67 | [16 empty] | central building services (consumption calculated as % area of building)
Subway(s) | 12345.67 | [16 empty] | central building services (consumption calculated as % area of building)
Air-conditioned GIC (e.g. public lava.) | 12345.67 | [16 empty] | central building services (consumption calculated as % area of building)
[5 empty] | Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Ice Rink |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | central Ice rink chiller plant (consumption proportion to outdoor temperature)
On-grid Renewable (PV) Power Generation |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | On-grid renewable (PV) power generation (consumption proportion to monthly solar radiation)
EV Charger |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | EV charger (consumption proportion to monthly calendar days)
02:00 to 05:00 Central Chiller Plant |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | *central equipment (e.g. chiller, pumps, cooling towers/radiators)(consumption proportion to outdoor temperature)
02:00 to 05:00 Central Chiller Plant (for 24hrs CHW Operation) |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | *central equipment (e.g. chiller, pumps, cooling towers/radiators)(consumption proportion to outdoor temperature)
02:00 to 05:00 CBSI System |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | e.g. AHU,PAU, etc.
20:00 to 23:00 CBSI System |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | *central equipment (e.g. chiller, pumps, cooling towers/radiators)(consumption proportion to outdoor temperature)
24-hrs Laboratory Appliances |  |  |  |  | kWh | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | 123456.78 | *central appliances (e.g. frame cupboard exhaust & makeup fan, freezer)(consumption proportion to monthly calendar days)
Tenant |  |  |  |  | Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
2 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
3 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
4 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
5 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
6 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
7 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
8 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
9 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)
10 | 123456.78 |  |  |  | kWh | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | 876543.21 | lighting + air-conditioning (FCU, exhaust) + plug load (PC, photocopy, freezer,etc.)